## Sheet1
Item Category | Item Description | Qty | Estimated Unit Cost (PHP) | Supplier | Total Cost (PHP) | Reorder Level
Laboratory Furniture | Lab table with chemical-resistant surface | 2 | 12000 | Mega Lab Furnishings | 24000 | 1
Laboratory Furniture | Adjustable lab stools | 4 | 1800 | Mega Lab Furnishings | 7200 | 2
Laboratory Furniture | Biosafety cabinet (Class II) | 1 | 180000 | Esco Philippines | 180000 | 1
Laboratory Furniture | Fume hood | 1 | 90000 | Thermo Fisher | 90000 | 1
Equipment | Autoclave (50L vertical type) | 1 | 85000 | Yamato/Medsource | 85000 | 1
Equipment | Laminar flow hood | 1 | 60000 | Esco/Locally sourced | 60000 | 1
Equipment | Incubator (30–37°C adjustable) | 1 | 30000 | Thermo Fisher | 30000 | 1
Equipment | Refrigerated centrifuge | 1 | 120000 | Eppendorf | 120000 | 1
Equipment | Vortex mixer | 1 | 6000 | Sigma-Aldrich | 6000 | 1
Equipment | Hot plate stirrer | 1 | 5000 | Sigma-Aldrich | 5000 | 1
Equipment | Digital weighing scale (0.001g) | 1 | 8000 | A&D Weighing | 8000 | 1
Equipment | pH meter | 1 | 7000 | Hanna Instruments | 7000 | 1
Equipment | Refrigerator (for culture storage) | 1 | 18000 | LG | 18000 | 1
Glassware & Plastics | Erlenmeyer flasks (250ml, 500ml, 1000ml) | 30 | 300 | Chemglass | 9000 | 10
Glassware & Plastics | Petri dishes (borosilicate reusable) | 100 | 40 | Chemglass | 4000 | 20
Glassware & Plastics | Test tubes (with caps) | 100 | 25 | Chemglass | 2500 | 20
Glassware & Plastics | Micropipettes (1–10µl, 10–100µl, 100–1000µl) | 3 | 10000 | Eppendorf | 30000 | 1
Glassware & Plastics | Pipette tips (sterile, various sizes) | 10 | 1000 | Thermo Fisher | 10000 | 3
Glassware & Plastics | Beakers and graduated cylinders | 1 | 4000 | Chemglass | 4000 | 1
Culture Media & Reagents | Potato Dextrose Agar (PDA) powder | 5 | 5000 | HiMedia | 25000 | 1
Culture Media & Reagents | Yeast Extract, Peptone, Sucrose | 5 | 4500 | HiMedia/Sigma | 22500 | 1
Culture Media & Reagents | Manganese Dioxide (MnO₂) | 2 | 1200 | Merck | 2400 | 0.5
Culture Media & Reagents | Sodium Chloride (NaCl) | 5 | 100 | Merck/Local Chem Supply | 500 | 1
Culture Media & Reagents | Ferric Chloride (FeCl₃) | 2 | 1800 | Sigma | 3600 | 0.5
Culture Media & Reagents | Magnesium Chloride (MgCl₂) | 2 | 950 | Sigma | 1900 | 0.5
Consumables | Sterile gloves (nitrile, powder-free) | 10 | 500 | Ansell | 5000 | 3
Consumables | Face masks | 5 | 150 | Local Supplier | 750 | 2
Consumables | Alcohol (70%) | 10 | 100 | Local Chem Supply | 1000 | 2
Consumables | Bleach (NaOCl solution) | 5 | 80 | Local Chem Supply | 400 | 1
Documentation & IT | Laboratory notebook/logbooks | 10 | 150 | National Bookstore | 1500 | 2
Documentation & IT | Barcode printer & scanner | 1 | 15000 | Zebra Technologies | 15000 | 1
Documentation & IT | Computer with data recording software | 1 | 35000 | Dell/HP | 35000 | 1
|  |  | 702695 |  | 814250